## Assumptions
SRD FRAMEWORK — NAURU PILOT ¦ ASSUMPTION CONTROL PANEL
Blue = inputs you can change ¦ Black = formulas ¦ All values trace to documented sources
BOND STRUCTURE
Project Cost ($) | 30000000 | Source: IRENA/World Bank renewable energy estimate for Nauru (modelled, population-scaled). Population: 10,800. GDP: $0.1B. NOTE: replace with official country roadmap.
Bond Coupon Rate | 4.5% | Source: AU 20yr bond + 50bps (2025) = 4.5% baseline.
Bond Term (years) | 20 | Source: Standard infrastructure finance term
Gross Annual Savings ($) | 3200000 | Source: Modelled — Nauru diesel generation 100% × estimated demand × $0.45/kWh. Replace with Ministry of Energy/national utility data.
Savings Realisation Rate | 85% | Source: Conservative vs IRENA 90–100% (IRENA/ESMAP)
O&M (% of project cost/yr) | 2% | Source: Standard renewable energy O&M benchmark
CALCULATED BOND OUTPUTS
Annual Debt Service ($)
Net Annual Savings ($)
Annual O&M ($)
Annual Net to SWF ($)
20yr Total Savings ($)
SOVEREIGN WEALTH FUND PARAMETERS
SWF Nominal Return | 7% | Source: Norway GPFG 30yr avg 6.2%; base conservative at 7%
SWF Return Std Dev | 8.4% | Source: Norway GPFG historical SD 8.4%
Gold Allocation | 15% | Source: Monte Carlo optimal allocation (SRD doc)
Gold Return | 5% | Source: World Gold Council long-run average
Gold Return Std Dev | 15% | Source: World Gold Council historical SD
SWF Horizon (years) | 25 | Source: SRD 25-year projection baseline
Blended SWF Return |  | (1-gold_alloc)×equity_return + gold_alloc×gold_return
SELF-HEALING FORMULA PARAMETERS
Capital Gap ($) | 6000000 | Scaled to Nauru project cost (~20% of project cost)
Year 1 Excess (E₁) ($) | 300000 | Source: First-year excess above debt service (SRD doc p.4)
Annual Growth Rate (g) | 18% | Source: SWF contribution annual growth rate
Time to Self-Complete (T, years) |  | T = ln(1+Gap×g/E₁)/ln(1+g) ¦ SRD doc target: 8.3 years
AUSTRALIA GUARANTEE STRUCTURE
Guarantee % of Bond | 5% | Source: SRD proposed structure (5% = $92M exposure)
Annual Guarantee Fee Rate | 2.5% | Source: SRD proposed 2.5% fee p.a. on outstanding bond value (not guarantee exposure). 2.5% × $1.48B = $37M/yr → $740M over 20 years.
Default Probability | 2% | Source: 50× MIGA actual (<0.04%); extremely conservative
Loss Given Default (LGD) | 50% | Source: Standard MDB recovery assumption (50%)
Trade/Strategic Multiplier | 32% | CALIBRATED ASSUMPTION — 32% of project cost. At baseline (0.38). Rationale: 100% diesel. AU offshore processing relationship — strategic AU interest. Exceptional wind resource.. Distance to AU: 3,900 km. TODO: replace with bilateral trade data.
Bond Value (debt-financed portion) ($) | 24000000 | Project cost $0.03B minus local equity $0.01B (~20% local contribution).
AUSTRALIA CALCULATED OUTCOMES
Guarantee Exposure ($) |  | Calculated: 5pct of project cost = $92M. Australia max contingent liability if default. Fee base is Bond Value (B39), not this exposure.
Annual Fee Income ($)
Total Fee Income ($)
Expected Default Loss ($)
Direct Net Benefit ($) |  | ← SRD document target: $716M (direct net benefit only = fees − expected loss)
Strategic Value ($) |  | CALIBRATED ASSUMPTION — see caveat in B38. Not directly evidenced for Barbados.
TOTAL AUSTRALIA NET BENEFIT ($) |  | Calculated: Direct Net Benefit + Strategic Value. SRD document target of $716M refers to Direct Net Benefit only (row 45). Total here is approx $1.44B. Strategic value (38% of project cost, row 46) is a calibrated assumption — see caveat in B38.
SRD model for Nauru ¦ Region: Pacific ¦ Status: Full Member ¦ Pop: 10,800 ¦ GDP: $0.1B ¦ All figures modelled estimates — not project-specific ¦ Seed: 7801909 ¦ SRD Framework v3

## Bond Cashflows
BOND CASHFLOW & AMORTISATION SCHEDULE — BARBADOS PILOT
All formulas link to Assumptions sheet. Change any blue input there to recalculate.
Year | Debt Service | Interest | Principal Repaid | Bond Balance | Gross Savings | O&M Cost | Net → SWF | Cumulative Savings
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
TOTAL |  |  |  | —

## SWF Projection
SOVEREIGN WEALTH FUND — 25-YEAR GROWTH PROJECTION
Norway GPFG validation ¦ Timor-Leste PF ¦ Botswana Pula Fund ¦ All formulas link to Assumptions
Year | Annual Contribution | SWF Balance | Growth Return | SWF as × GDP
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
VALIDATION BENCHMARKS
Norway GPFG (2025) | $1.9T (15.1% return in 2025) | Source: NBIM Annual Report 2025
Norway GPFG 30yr avg return | ~6.2% nominal | Source: NBIM historical data
Timor-Leste Petroleum Fund peak | $18.9B (10.5× GDP) | Source: Ministry of Finance Timor-Leste
Timor-Leste with SRD rules (simulated) | $38B | Source: SRD doc backtest simulation
Botswana Pula Fund peak → current | $7B → $3.5B (-50%) | Source: Bank of Botswana
Botswana with SRD governance (simulated) | $12.3B (+252%) | Source: SRD doc backtest simulation

## Self-Healing
SELF-HEALING (SELF-COMPLETION) FORMULA — VERIFICATION
Formula: T = ln(1 + Gap×g/E₁) / ln(1+g) ¦ SRD document target: T = 8.3 years
FORMULA INPUTS (from Assumptions sheet)
Capital Gap ($)
Year 1 Excess E₁ ($)
Annual Growth Rate g
Time T (years) — calculated
Formula derivation: geometric series sum = E₁×((1+g)^T-1)/g = Gap → solve for T
Proof: if this equals 8.3 with Gap=$360M, E₁=$22M, g=18%, unit test passes
Year | Annual Excess | Cumulative Capital | Remaining Gap | Healed?
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25

## Australia Benefit
AUSTRALIA NET BENEFIT — GUARANTEE STRUCTURE ANALYSIS
BASE CASE — BARBADOS PILOT ONLY
Guarantee Exposure ($) |  | 5% × $1.84B = $92M ¦ This is Australia's max contingent LIABILITY if Barbados defaults — separate from the fee base (bond value $1.48B)
Annual Guarantee Fee ($) |  | 2.5% × Bond Value ($1.48B) = $37M/yr ¦ NOT 2.5% × exposure
Total Fee Income (20yr) ($) |  | Annual fee × 20 years
Expected Default Loss ($) |  | default_prob × LGD × exposure
Direct Net Benefit ($) |  | Total fees - expected loss
Strategic Value ($) |  | Trade/diplomatic (38% of project cost)
TOTAL AUSTRALIA NET BENEFIT ($) |  | ← SRD doc target: $716M
Note: SRD document target of $716M = Direct Net Benefit only (fees − expected loss). Total above (~$1.44B) includes Strategic Value ($699M), which is a calibrated assumption — not directly evidenced for Barbados. See B38 caveat.
PROGRAMME SCALE SCENARIOS
Scenario | Australia Net Benefit ($) | Notes
Barbados Only (1 SIDS) |  | Pilot programme
Conservative 30% Scale (8 SIDS) |  | SRD doc conservative scenario
Full Pacific Programme (20 SIDS) |  | All Pacific SIDS
Full 28-SIDS Programme |  | SRD doc full programme
MIGA VALIDATION — DEFAULT RATE CONSERVATISM
MIGA years operating | 35+ | Source: MIGA Annual Reports
Total guarantees issued ($B) | 28+ | Source: MIGA Financial Statements
Total claims paid (lifetime) | 11 | Source: MIGA Annual Reports
MIGA actual claim rate | <0.04% | Source: Calculated from above
SRD assumed default probability |  | 50× MIGA actual — extremely conservative
SRD conservative factor (×MIGA) |  | 0.0x
Break-even default rate |  | 0.0%

## Sensitivity
SENSITIVITY ANALYSIS — IMPACT OF ±20% PARAMETER CHANGES
Parameter | Base Value | −20% Impact (Aus Net $M) | +20% Impact (Aus Net $M) | Swing ($M) | Key Insight
Savings Realisation Rate |  | Negative if savings-driven | Positive if savings-driven | See Python/R for exact $M | Strongest driver of SWF size
Diesel Price (via savings) |  | Negative if savings-driven | Positive if savings-driven | See Python/R for exact $M | Break-even: $0.21/kWh (vs base $0.35)
Default Probability |  | Negative if savings-driven | Positive if savings-driven | See Python/R for exact $M | Break-even: 8.7% (vs base 2.0%)
SWF Return |  | Negative if savings-driven | Positive if savings-driven | See Python/R for exact $M | 4% still yields positive SWF at year 25
Bond Coupon |  | Negative if savings-driven | Positive if savings-driven | See Python/R for exact $M | Higher coupon → less net to SWF
Gold Allocation |  | Negative if savings-driven | Positive if savings-driven | See Python/R for exact $M | 15% optimal from Monte Carlo
Guarantee Fee Rate |  | Negative if savings-driven | Positive if savings-driven | See Python/R for exact $M | Direct revenue to Australia
LGD |  | Negative if savings-driven | Positive if savings-driven | See Python/R for exact $M | Higher LGD → more expected loss
THRESHOLD ANALYSIS
Australia net positive if default rate < | 8.7% | Base: 2.0% ¦ 4.4× headroom
Australia net positive if diesel price > | $0.21/kWh | Base: $0.35/kWh ¦ 40% buffer
SWF positive if savings realisation > | 52% | Base: 85% ¦ 33pp buffer
Minimum SWF return for self-healing | >0% | Any positive return completes capital

## Unit Tests
UNIT TESTS — EVERY FORMULA VERIFIED AGAINST KNOWN VALUES
All tests should show PASS ✓ ¦ If any show FAIL, review Assumptions inputs
Test Description | Expected Value | Actual (Formula) | Pass/Fail | Notes
Bond PMT: calc_pmt($1.84B, 4.5%, 20yr) | 141497041 |  |  | Standard PMT formula; tolerance ±2%
Self-healing T: Gap=$360M, E₁=$22M, g=18% | 8.3 |  |  | SRD doc p.4 target: T=8.3 years; tolerance ±5%
Blended SWF return: (1-15%)×7% + 15%×5% | 8.2% |  |  | Blended = 85%×7% + 15%×5% = 8.2%; tolerance ±0.1pp
Guarantee exposure: 5% × $1.84B | 92000000 |  |  | Should be exactly $92M
Australia net benefit vs $716M target | 716000000 |  |  | Within ±15% of $716M SRD doc target
Annual debt service from amortisation table |  |  |  | Bond cashflow table must match PMT formula

## Hydrogen Alliance
HYDROGEN ALLIANCE — NAURU ¦ H₂ Potential: ~223 t/yr ¦ Distance to AU: 3,900 km ¦ Delivered cost: $4.68/kg
All figures modelled from resource databases. Pending: Pacific H₂ Strategy Report C (DCCEEW/UNSW ~2026); CCREEE per-country IRP data. H₂ potential = excessMW × 8760h × 35% CF ÷ 55 kWh/kg ÷ 1000 ¦ Sources: World Bank ESMAP; Global Wind Atlas; IRENA (2024)
H₂ PRODUCTION MODEL PARAMETERS
System efficiency (kWh/kg H₂) | 55 | Source: IRENA Green Hydrogen Cost Reduction (2020); IEA Hydrogen Roadmap (2023)
Blended capacity factor (CF) | 35%
H₂ production cost ($/kg gate) | 3.5
AU 2030 delivered price target ($/kg) | 5
Shipping fixed cost ($/kg) | 0.4
Shipping variable cost ($/kg/km) | 0.0002
GEOGRAPHIC NOTE — CARICOM MARKET ROUTING
CARICOM → Australia sea distance | 15,800–17,800 km
Delivered H₂ cost to AU (CARICOM) | ~$6.50–7.50/kg ← above AU $5/kg target
CARICOM primary H₂ market | US Gulf Coast (~3–5K km) or EU Rotterdam (~8–9K km)
Pacific → Australia distance | 1,400–5,200 km ← competitive at ≤$5/kg delivered
AU competitive threshold | ≤$5.00/kg delivered (AU Hydrogen Strategy)
NATION-BY-NATION HYDROGEN READINESS (★ = SRD Pilot)
Nation | Region | Excess RE (MW) | Solar GHI (kWh/m²/d) | Wind CF | Diesel % | H₂ Potential (t/yr) | Dist AU (km) | Delivered ($/kg) | AU Market?
PNG | Pacific | 450 | 4.8 | 20% | 70% |  | 1600
Timor-Leste | Pacific | 120 | 5.5 | 25% | 60% |  | 1400
Fiji | Pacific | 85 | 5.2 | 28% | 40% |  | 3150
Solomon Islands | Pacific | 60 | 5 | 22% | 85% |  | 2700
Vanuatu | Pacific | 45 | 5.3 | 25% | 90% |  | 2900
Samoa | Pacific | 35 | 5.8 | 30% | 75% |  | 4100
Tonga | Pacific | 20 | 5.5 | 32% | 80% |  | 3800
Kiribati | Pacific | 25 | 6.2 | 40% | 98% |  | 4500
FSM | Pacific | 18 | 5.1 | 22% | 98% |  | 4800
Marshall Islands | Pacific | 8 | 5.9 | 38% | 99% |  | 5200
Palau | Pacific | 6 | 5 | 20% | 98% |  | 3200
Cook Islands | Pacific | 5 | 5.5 | 30% | 85% |  | 4700
Nauru | Pacific | 4 | 6 | 42% | 100% |  | 3900
Tuvalu | Pacific | 3 | 6.1 | 38% | 100% |  | 4100
Niue | Pacific | 1 | 5.2 | 28% | 90% |  | 4900
Trinidad & Tobago | CARICOM | 200 | 5.2 | 25% | 20% |  | 17800
Jamaica | CARICOM | 180 | 5.6 | 32% | 85% |  | 16400
Guyana | CARICOM | 110 | 5 | 35% | 45% |  | 17600
Suriname | CARICOM | 85 | 4.8 | 30% | 40% |  | 17800
Haiti | CARICOM | 95 | 5.4 | 30% | 80% |  | 16500
Bahamas | CARICOM | 60 | 5.8 | 35% | 98% |  | 15800
Belize | CARICOM | 55 | 5.5 | 28% | 55% |  | 16200
St Lucia | CARICOM | 25 | 5.6 | 30% | 95% |  | 17100
Antigua & Barbuda | CARICOM | 20 | 5.9 | 38% | 99% |  | 16900
Grenada | CARICOM | 18 | 5.6 | 32% | 90% |  | 17500
St Vincent | CARICOM | 18 | 5.5 | 28% | 90% |  | 17300
Dominica | CARICOM | 15 | 5 | 30% | 40% |  | 17000
St Kitts & Nevis | CARICOM | 12 | 5.8 | 35% | 99% |  | 16800
★ Barbados | CARICOM | 45 | 5.8 | 28% | 98% |  | 17200
Montserrat | CARICOM | 2 | 5.7 | 0.3 | 0.99 | 111 | 17000 | 7.3 | US/EU
TOTAL — All Nations | 30 nations |  | — | — | — |  | — | — | —
Pacific only (15 nations) | — | — | — | — | — |  | — | — | —
Note: Pacific figures modelled from Global Solar/Wind Atlas. CARICOM figures modelled similarly. Pending: Pacific H₂ Strategy Report C (DCCEEW/UNSW ~2026); CCREEE per-country IRP data. Excess RE = renewable capacity available after domestic demand — conservative estimate.

## H2 Economics (AU)
GREEN HYDROGEN → AUSTRALIAN GREEN IRON ¦ ECONOMICS & MULTIPLIERS
Phase 1: SRD funds energy sovereignty. Phase 2 (post-2031): Excess RE → H₂ export → AU green iron → Asian steel. ⚠ Green iron H₂ DRI is unproven at commercial scale. Model as contingent on AU industry scaling.
PHASE 2 — H₂ IMPORT PARAMETERS (from document sources)
Green Iron Target — single plant (Mtpa) | 4.8 | Source: Minerals Institute WA (single 4.8 Mtpa plant)
H₂ intensity (kg H₂ per tonne DRI) | 55 | Source: Industry average; range 50–60 kg/t (technical literature)
Total H₂ required — single plant (t/yr) |  | green iron target × H₂ intensity × 1000 kg/t
SIDS market share of AU H₂ demand | 20% | Assumption: 20% conservative. See sensitivity in row 15.
SIDS H₂ export to AU — single plant (t/yr) |  | SIDS supply if 20% of single plant H₂ demand
H₂ gate price ($/kg) | 3.5 | Source: CSIRO/ARENA 2025-2030 target; see Hydrogen Alliance sheet
Annual H₂ export revenue — SIDS ($) |  | t/yr × 1000 kg/t × $/kg
SIDS MARKET SHARE SENSITIVITY (% of single plant H₂ demand)
SIDS Market Share | H₂ Export (t/yr) | Annual Revenue ($)
5%
10%
15%
20%
30%
40%
50%
Highlighted row = base case (20%). Source: Assumption pending offtake agreements.
SIDS SWF RECIPROCAL INVESTMENT IN AU GREEN IRON
SIDS SWF Year 25 (from SWF Projection sheet) |  | Links to SWF Projection sheet C28
Reciprocal investment rate | 7.5% | 7.5% of SWF to Australian assets (SRD doc)
Total reciprocal investment ($) |  | SWF × 7.5%
Allocation to green iron processing | 60% | 60% of reciprocal to green iron
Investment in processing capacity ($) |  | reciprocal × 60%
Estimated plant capex ($) | 5000000000 | Rough estimate; range $3–8B. Pending confirmed DRI projects.
Equity stake in 4.8Mtpa plant |  | ≈ Processing investment ÷ plant capex
Indirect jobs (proportional to stake) |  | Source: Minerals Institute WA (1,540 FTE per plant × equity %)
⚠ Plant capex ($5B) is a rough estimate. Real DRI plants vary $3–8B depending on scale, technology (shaft furnace vs flash calciner), and location. Update when DRI projects confirmed.
ECONOMIC MULTIPLIERS — PER 4.8 Mtpa GREEN IRON PLANT
Metric | Value | Source
GDP contribution (cumulative) | $85B | Minerals Institute of WA (2024)
Annual real income added | $2.4B/yr | Minerals Institute of WA (2024)
Full-time jobs created | 1,540 FTE | Minerals Institute of WA (2024)
Green iron export revenue | $12–15B/yr | Accenture / estimated
State tax revenue (annual) | ~$1.2B | Estimated
Industry export total by 2040 | $122B | Accenture Report (green metals industry)
Annual range — full industry | $96–295B/yr | Deloitte / WWF-Australia Report
AU Government Green Iron Fund | $1B committed | Dept of Industry, Science & Resources
Calix ZESTY demonstration | $44.9M ARENA grant; 30,000 t/yr demo underway | ARENA 2024
Carbon price needed (Rio Tinto CTO) | ~$200/t ← policy gap | Rio Tinto CTO, 2024 (risk)
HONEST RISK ASSESSMENT (per IEEFA + Rio Tinto analysis)
Risk / Barrier | Category | Context/Mitigation
H₂ DRI unproven at commercial scale | Technology risk | Calix ZESTY 30Kt/yr demo is largest current proof-of-concept
AU construction costs high vs competitors | Economic risk | IEEFA: acknowledged; location premium real
AU iron ore is low-grade (higher processing) | Technical risk | Additional beneficiation needed vs premium ores
Carbon price ~$200/t needed (not current) | Policy gap | No AU carbon price at this level currently
Middle East cheaper on gas DRI short-term | Competitive risk | IEEFA: AU must leapfrog to H₂ as only viable long-run path
AU cannot produce H₂ at scale domestically | Supply gap → SIDS opportunity | IEEFA: SIDS imports not optional—essential to scaling
Recommendation: Model H₂ layer as SRD Phase 2 (post-2031), contingent on AU green iron scaling. 'Today I don't believe there is an economic incentive for anybody to move to a hydrogen DRI.' — Rio Tinto CTO (2024). IEEFA counter: gas DRI cannot compete with Middle East long-run; H₂ DRI is AU's only path.
H₂ PRICE SCENARIOS — IMPACT ON AU MARKET VIABILITY
Year | Gate $/kg | Notes
2025 | 3.5 | Current — all Pacific nations AU-viable (max dist 5,200 km → $4.94/kg delivered)
2030 | 2.5 | Mid-term — Pacific viable H₂ grows as lower prices attract more electrolyzer investment
2035 | 2 | IRENA green hydrogen target — CARICOM → US Gulf Coast becomes competitive (~$4.50/kg)
KEY INSIGHT — WHY PACIFIC NATIONS DOMINATE AU SUPPLY
• Pacific proximity (1,400–5,200 km) is the decisive factor — shipping cost only $0.68–1.44/kg vs CARICOM $3.60–4.00/kg
• All 15 Pacific nations are AU-competitive at 2025 prices ($3.50 gate + shipping ≤ $5/kg)
• CARICOM nations (15,800–17,800 km) will never be AU-competitive — their market is US Gulf / EU
• Price reduction scenarios: Pacific supply grows through investment attraction, not AU threshold shifts
• A single 4.8 Mtpa plant needs 264,000 t H₂/yr — total Pacific potential (~49,000 t/yr) supplies ~19% of one plant
• Full AU green iron industry at scale would require all Pacific SIDS + new hydrogen exporters (e.g. Indonesia, India)

## Data Gaps Tracker
DATA GAPS TRACKER — HYDROGEN ALLIANCE MODULE
Track open data gaps. When a source becomes available, update Hydrogen Alliance and H2 Economics sheets. Priority = critical for model defensibility.
OPEN DATA GAPS
Data Gap | Priority | Source / Contact | Expected Date | Repo Path
Pacific H₂ Strategy Report C (per-country resource maps, land availability, production cost estimates) | CRITICAL | DCCEEW/UNSW Sydney – Pacific H₂ Strategy | Late 2026 | data/raw/pacific_hydrogen_strategy/report_c/
CCREEE Integrated Resource Plans — all 25 CARICOM nations (25-yr power sector plans) | CRITICAL | CCREEE – Dr Devon Gardner (Head of Technical Programs) | End 2024 (8 done; 25 planned) | data/raw/caricom_ccreee/integrated_resource_plans/
Australian green iron H₂ demand trajectory (confirmed DRI plant pipeline) | HIGH | ARENA; Dept Industry Science & Resources; state govts (WA, SA, Qld) | When announced | data/raw/australia_green_iron/demand_trajectory/
Calix ZESTY full techno-economic data (post-demonstration) | HIGH | ARENA (calix_zesty grant) | Post-demo (~2027) | data/raw/australia_green_iron/arena_calix_zesty/
H₂ offtake agreements SIDS → Australia (when signed) | HIGH | ARENA / DISR | TBD | data/raw/offtake_agreements/
Trinidad CertHiLAC certification data (clean H₂ certification system) | MEDIUM | IDB; OLADE (Latin America Energy Org) | Available now | data/raw/caricom_ccreee/trinidad_certhilac/
Barbados HDF Energy/Rubis Renewstable project data (50MW solar+H₂, 2027) | MEDIUM | HDF Energy; Rubis Caribbean | 2027 operational | data/raw/caricom_ccreee/barbados_hydrogen_project/
Per-country port depth, handling capacity, grid connection data | MEDIUM | National port authorities; national utilities | On request | data/raw/pacific_hydrogen_strategy/logistics/
Green Iron Investment Fund project pipeline ($1B fund — project selection) | LOW | Dept Industry Science & Resources | Rolling announcements | data/raw/australia_green_iron/green_iron_fund/
Open-source Pacific H₂ techno-economic assessment tool (DCCEEW in development) | LOW | DCCEEW; UNSW Sydney | ~2026 | data/raw/pacific_hydrogen_strategy/technoeconomic_tool/